Flat heaters type A
Galvatherm®

[image: image1.png]



Models adapted to all classical tank configura-tions and offering a large exchange surface in a minimum bulk.

[image: image2.png]



Installation on the side

or at the bottom

The Galvatherm heaters are specially designed with a cable that only heats the part that is to be continually immersed.

The cable is composed of a heating resistance insulated with thermal and electric components on which is co-extruded a Teflon® sheath insuring a reliable chemical resistance.

The cable is rolled up according dimensions & shapes proposed and held with PVDF, PP or FEP strips which ensure the right distance between the rolls. To secure completely the heating part it is then mounted on a metallic frame coated with PVDF, PP or FEP or on a stainless steel frame.



exit on J
exit on K

[image: image3.png]



(small side)
(large side)

Assembly type convenient for immersion heaters with reference

Electric safety : the Galvatherm heater complies with protection class P30 (thickness 30 mm) , P40 (thickness 40 mm) , P90 (thickness 1 of EN 60519-1/2. The cable is screened throughout the entire 100 mm) length by a copper earthing strip. The earthing must be connected to

the earth. In order to provide maximum safety, a fault-current (FI)

protection device (30mA) should be used.

.

On metallic frame coated PP, PVDF, FEP or stainless steel frame Recommended up to 6 kW

Options and Accessories
The Galvatherm heater is only planned to heat liquids.

[image: image4.png]



Extra length of cables

Electrical connecting cable C of type H05 VV-F (PVC) or H07 RN-F (Neopren)

[image: image5.png]™




Non heating cable N

to go out of the tank



Removable guard

Perforated plastic guard PP ou PVDF

[image: image6.png]



Ref in PP : PRPPP

Ref in PVDF : PRPPF

Feet for type A

Standard height 50 mm Other heights possible

[image: image7.png]



For installation at the bottom of the tank.

Ref in PP : PIPP

Ref in PVDF : PIPF

Ref in PTFE : PIPTFE

Ref in inox : PIIN



Cable-gland Ø75 mm

[image: image8.png]



Allow between 200 to 300 mm extra on the H length (H=installation height on N)

Ref in PP : PEPP

Ref in PVDF : PEPF



	01/03/2019


GALVATEK S.A.S - 9, rue de la Tour du Mesnil-Renard - 78270 Bonnières, France www.galvatek.com - Tél. 01 30 93 07 57 - info@galvatek.fr

[image: image9.jpg]






	update


Flat heaters, reference numbers
Galvatherm®

[image: image10.png]



The table below informs on the dimensions of the heating part and its references.

The reference number begins by P30, P40 or P90. These codes indicate the thickness ‘s device.

P30 = thickness 30 mm / P40 = 40 mm / P90 = 100 mm

All dimensions are given with a tolerance of ± 10 mm.

Standard cable coating : FEP single layer. For other coatings please contact us.

[image: image11.png]



SINGLE-PHASE IMMERSION HEATERS

[image: image12.png]



	KW
	J x K
	230V sg-ph
	

	0.5 kW
	150 x 375
	P30 03 05 2
	

	
	170 x 265
	P30 04 05 2
	

	
	185 x 210
	P30 05 05 2
	

	
	165 x 230
	P40 03 05 2
	

	
	
	
	

	
	150 x 605
	P30 03 10 2
	

	1 kW
	170 x 520
	P30 04 10 2
	

	
	185 x 365
	P30 05 10 2
	

	
	205 x 335
	P30 06 10 2
	

	
	220 x 290
	P30 07 10 2
	

	
	240 x 250
	P30 08 10 2
	

	
	165 x 395
	P40 03 10 2
	

	
	185 x 305
	P40 04 10 2
	

	
	205 x 255
	P40 05 10 2
	

	
	225 x 230
	P40 06 10 2
	

	
	
	
	

	1.5 kW
	165 x 680
	P30 04 15 2
	

	
	205 x 425
	P30 06 15 2
	

	
	220 x 355
	P30 07 15 2
	

	
	240 x 315
	P30 08 15 2
	

	
	260 x 285
	P30 10 15 2
	

	
	185 x 375
	P40 04 15 2
	

	
	205 x 345
	P40 05 15 2
	

	
	225 x 275
	P40 06 15 2
	

	
	245 x 245
	P40 07 15 2
	

	
	245 x 245
	P40 08 15 2
	

	
	
	
	

	2 kW
	170 x 765
	P30 04 20 2
	

	
	185 x 635
	P30 05 20 2
	

	
	205 x 565
	P30 06 20 2
	

	
	220 x 475
	P30 07 20 2
	

	
	240 x 420
	P30 08 20 2
	

	
	260 x 380
	P30 09 20 2
	

	
	275 x 340
	P30 10 20 2
	

	
	295 x 315
	P30 11 20 2
	

	
	185 x 515
	P40 04 20 2
	

	
	210 x 420
	P40 05 20 2
	

	
	225 x 350
	P40 06 20 2
	

	
	245 x 305
	P40 07 20 2
	

	
	265 x 275
	P40 08 20 2
	

	
	
	
	

	3 kW
	205 x 925
	P30 06 30 2
	

	
	225 x 790
	P30 07 30 2
	

	
	240 x 690
	P30 08 30 2
	

	
	260 x 620
	P30 09 30 2
	

	
	275 x 555
	P30 10 30 2
	

	
	295 x 510
	P30 11 30 2
	

	
	315 x 460
	P30 12 30 2
	

	
	330 x 440
	P30 13 30 2
	

	
	345 x 410
	P30 14 30 2
	

	
	365 x 390
	P30 15 30 2
	

	
	370 x 385
	P30 16 30 2
	

	
	205 x 685
	P40 05 30 2
	

	
	225 x 575
	P40 06 30 2
	

	
	245 x 500
	P40 07 30 2
	

	
	265 x 445
	P40 08 30 2
	

	
	285 x 400
	P40 09 30 2
	

	
	325 x 340
	P40 11 30 2
	

	
	340 x 340
	P40 12 30 2
	

	
	
	
	


[image: image13.png]* 110V single-phase ; 0.5 kW, 1 kW, 1.5 kv, 2 kw/
I








	KW
	J x K
	230V sg-ph

	4 kW
	225 x 880
	P30 07 40 2

	
	260 x 700
	P30 09 40 2

	
	315 x 545
	P30 12 40 2

	
	330 x 515
	P30 13 40 2

	
	350 x 475
	P30 14 40 2

	
	385 x 435
	P30 16 40 2

	
	405 x 420
	P30 17 40 2

	
	205 x 810
	P40 05 40 2

	
	225 x 685
	P40 06 40 2

	
	245 x 595
	P40 07 40 2

	
	285 x 475
	P40 09 40 2

	
	310 x 435
	P40 10 40 2

	
	325 x 400
	P40 11 40 2

	
	345 x 375
	P40 12 40 2

	
	
	

	6 kW
	275 x 990
	P30 10 60 2

	
	295 x 855
	P30 11 60 2

	
	310 x 825
	P30 12 60 2

	
	350 x 720
	P30 14 60 2

	
	365 x 645
	P30 15 60 2

	
	385 x 635
	P30 16 60 2

	
	405 x 625
	P30 17 60 2

	
	420 x 570
	P30 18 60 2

	
	440 x 550
	P30 19 60 2

	
	455 x 545
	P30 20 60 2

	
	475 x 540
	P30 21 60 2

	
	265 x 785
	P40 08 60 2

	
	305 x 635
	P40 10 60 2

	
	325 x 585
	P40 11 60 2

	
	350 x 550
	P40 12 60 2

	
	365 x 505
	P40 13 60 2

	
	390 x 470
	P40 14 60 2

	
	405 x 455
	P40 15 60 2

	
	425 x 425
	P40 16 60 2

	
	300 x 300
	P90 10 60 2

	
	
	


List of other single-phase voltages available

· 110V single-phase : 0.5 kW, 1 kW, 1.5 kW, 2 kW

· 460V single-phase : 1 kW, 1.5 kW, 2 kW, 3 kW, 4 kW, 6 kW

GALVATEK S.A.S - 9, rue de la Tour du Mesnil-Renard - 78270 Bonnières, France www.galvatek.com - Tél. 01 30 93 07 57 - info@galvatek.fr

[image: image14.jpg]






	update 01/03/2019


Flat heaters, reference numbers
Galvatherm®

[image: image15.png]


[image: image16.png]



THREE-PHASES IMMERSION HEATERS

[image: image17.png]



	KW
	J x K
	230V 3-ph
	400V 3-ph

	1.5 kW
	170 x 680
	P30 04 15 4
	P30 04 15 5

	
	205 x 475
	P30 06 15 4
	P30 06 15 5

	
	225 x 440
	P30 07 15 4
	P30 07 15 5

	
	240 x 360
	P30 08 15 4
	P30 08 15 5

	
	280 x 340
	P30 10 15 4
	P30 10 15 5

	
	185 x 380
	P40 04 15 4
	P40 04 15 5

	
	205 x 375
	P40 05 15 4
	P40 05 15 5

	
	225 x 325
	P40 06 15 4
	P40 06 15 5

	
	245 x 275
	P40 07 15 4
	P40 07 15 5

	
	270 x 270
	P40 08 15 4
	P40 08 15 5

	
	195 x 195
	P90 05 15 4
	P90 05 15 5

	
	
	
	

	3 kW
	205 x 905
	P30 06 30 4
	P30 06 30 5

	
	225 x 910
	P30 07 30 4
	P30 07 30 5

	
	240 x 700
	P30 08 30 4
	P30 08 30 5

	
	260 x 705
	P30 09 30 4
	P30 09 30 5

	
	275 x 580
	P30 10 30 4
	P30 10 30 5

	
	295 x 575
	P30 11 30 4
	P30 11 30 5

	
	315 x 490
	P30 12 30 4
	P30 12 30 5

	
	330 x 465
	P30 13 30 4
	P30 13 30 5

	
	350 x 450
	P30 14 30 4
	P30 14 30 5

	
	370 x 410
	P30 15 30 4
	P30 15 30 5

	
	380 x 395
	P30 16 30 4
	P30 16 30 5

	
	205 x 735
	P40 05 30 4
	P40 05 30 5

	
	230 x 615
	P40 06 30 4
	P40 06 30 5

	
	250 x 545
	P40 07 30 4
	P40 07 30 5

	
	265 x 470
	P40 08 30 4
	P40 08 30 5

	
	285 x 420
	P40 09 30 4
	P40 09 30 5

	
	325 x 360
	P40 11 30 4
	P40 11 30 5

	
	340 x 340
	P40 12 30 4
	P40 12 30 5

	
	250 x 250
	P90 07 30 4
	P90 07 30 5

	
	
	
	

	4.5 kW
	240 x 905
	P30 08 45 4
	P30 08 45 5

	
	275 x 750
	P30 10 45 4
	P30 10 45 5

	
	295 x 730
	P30 11 45 4
	P30 11 45 5

	
	315 x 625
	P30 12 45 4
	P30 12 45 5

	
	350 x 535
	P30 14 45 4
	P30 14 45 5

	
	370 x 520
	P30 15 45 4
	P30 15 45 5

	
	385 x 505
	P30 16 45 4
	P30 16 45 5

	
	405 x 460
	P30 17 45 4
	P30 17 45 5

	
	420 x 440
	P30 18 45 4
	P30 18 45 5

	
	265 x 595
	P40 08 45 4
	P40 08 45 5

	
	285 x 535
	P40 09 45 4
	P40 09 45 5

	
	305 x 480
	P40 10 45 4
	P40 10 45 5

	
	325 x 445
	P40 11 45 4
	P40 11 45 5

	
	345 x 425
	P40 12 45 4
	P40 12 45 5

	
	365 x 395
	P40 13 45 4
	P40 13 45 5

	
	380 x 380
	P40 14 45 4
	P40 14 45 5

	
	265 x 265
	P90 09 45 4
	P90 09 45 5

	
	
	
	

	6 kW
	275 x 990
	P30 10 60 4
	P30 10 60 5

	
	295 x 855
	P30 11 60 4
	P30 11 60 5

	
	310 x 825
	P30 12 60 4
	P30 12 60 5

	
	350 x 720
	P30 14 60 4
	P30 14 60 5

	
	365 x 645
	P30 15 60 4
	P30 15 60 5

	
	385 x 635
	P30 16 60 4
	P30 16 60 5

	
	405 x 625
	P30 17 60 4
	P30 17 60 5

	
	420 x 570
	P30 18 60 4
	P30 18 60 5

	
	440 x 550
	P30 19 60 4
	P30 19 60 5

	
	455 x 545
	P30 20 60 4
	P30 20 60 5

	
	475 x 540
	P30 21 60 4
	P30 21 60 5

	
	265 x 785
	P40 08 60 4
	P40 08 60 5

	
	305 x 635
	P40 10 60 4
	P40 10 60 5

	
	325 x 585
	P40 11 60 4
	P40 11 60 5

	
	350 x 550
	P40 12 60 4
	P40 12 60 5

	
	365 x 505
	P40 13 60 4
	P40 13 60 5

	
	390 x 470
	P40 14 60 4
	P40 14 60 5

	
	405 x 455
	P40 15 60 4
	P40 15 60 5

	
	425 x 425
	P40 16 60 4
	P40 16 60 5

	
	300 x 300
	P90 10 60 4
	P90 10 60 5




	KW
	J x K
	
	230V 3-ph
	400V 3-ph

	9 kW
	400 x 975
	*
	P30 17 90 4
	P30 17 90 5

	
	435 x 870
	
	P30 19 90 4
	P30 19 90 5

	
	475 x 800
	
	P30 21 90 4
	P30 21 90 5

	
	490 x 790
	
	P30 22 90 4
	P30 22 90 5

	
	525 x 720
	
	P30 24 90 4
	P30 24 90 5

	
	545 x 705
	
	P30 25 90 4
	P30 25 90 5

	
	565 x 695
	
	P30 26 90 4
	P30 26 90 5

	
	600 x 675
	
	P30 28 90 4
	P30 28 90 5

	
	345 x 890
	
	P40 12 90 4
	P40 12 90 5

	
	385 x 775
	
	P40 14 90 4
	P40 14 90 5

	
	405 x 730
	
	P40 15 90 4
	P40 15 90 5

	
	425 x 685
	
	P40 16 90 4
	P40 16 90 5

	
	445 x 655
	
	P40 17 90 4
	P40 17 90 5

	
	465 x 625
	
	P40 18 90 4
	P40 18 90 5

	
	505 x 575
	
	P40 20 90 4
	P40 20 90 5

	
	525 x 565
	
	P40 21 90 4
	P40 21 90 5

	
	375 x 375
	
	P90 15 90 4
	P90 15 90 5

	
	
	
	
	

	12 kW
	430 x 1075
	*
	P30 18 12 4
	P30 18 12 5

	
	440 x 1070
	*
	P30 19 12 4
	P30 19 12 5

	
	510 x 885
	
	P30 23 12 4
	P30 23 12 5

	
	585 x 785
	
	P30 27 12 4
	P30 27 12 5

	
	385 x 915
	
	P40 14 12 4
	P40 14 12 5

	
	405 x 860
	
	P40 15 12 4
	P40 15 12 5

	
	425 x 800
	
	P40 16 12 4
	P40 16 12 5

	
	465 x 740
	
	P40 18 12 4
	P40 18 12 5

	
	485 x 705
	
	P40 19 12 4
	P40 19 12 5

	
	505 x 680
	
	P40 20 12 4
	P40 20 12 5

	
	545 x 625
	
	P40 22 12 4
	P40 22 12 5

	
	585 x 595
	
	P40 24 12 4
	P40 24 12 5

	
	410 x 410
	
	P90 16 12 4
	P90 16 12 5

	
	
	
	
	

	15 kW
	430 x 1245
	*
	
	P30 18 13 5

	
	445 x 1235
	*
	
	P30 19 13 5

	
	465 x 1140
	*
	
	P30 20 13 5

	
	485 x 1125
	*
	
	P30 21 13 5

	
	500 x 1045
	*
	
	P30 22 13 5

	
	520 x 1030
	*
	
	P30 23 13 5

	
	540 x 1035
	*
	
	P30 24 13 5

	
	555 x
	950
	*
	
	P30 25 13 5

	
	575 x
	940
	*
	
	P30 26 13 5

	
	595 x
	925
	*
	
	P30 27 13 5

	
	375 x 1125
	*
	
	P40 13 13 5

	
	395 x 1055
	*
	
	P40 14 13 5

	
	415 x 1000
	*
	
	P40 15 13 5

	
	435 x
	940
	
	
	P40 16 13 5

	
	455 x
	890
	
	
	P40 17 13 5

	
	475 x
	850
	
	
	P40 18 13 5

	
	495 x
	810
	
	
	P40 19 13 5

	
	515 x
	780
	
	
	P40 20 13 5

	
	535 x
	750
	
	
	P40 21 13 5

	
	555 x
	725
	
	
	P40 22 13 5

	
	575 x
	700
	
	
	P40 23 13 5

	
	595 x
	690
	
	
	P40 24 13 5

	
	615 x
	660
	
	
	P40 25 13 5

	
	635 x
	640
	
	
	P40 26 13 5

	
	450 x
	450
	
	
	P90 17 13 5

	
	
	
	
	
	


For the construction of the reference, see following page.

· If feet option : 6 feet required instead of 4
Other voltage available :

460V three-phases : 3 kW, 4.5 kW, 6 kW, 9 kW, 12 kW, 15 kW

GALVATEK S.A.S - 9, rue de la Tour du Mesnil-Renard - 78270 Bonnières, France www.galvatek.com - Tél. 01 30 93 07 57 - info@galvatek.fr

[image: image18.jpg]






	update 01/03/2019


Flat heaters, codification
Galvatherm®

[image: image19.png]



Construction of the reference number

	P30
	03
	
	05
	2
	J
	F
	
	0
	
	0
	A
	1

	
	
	
	
	
	
	
	
	
	

	thickness
	J x K
	power
	voltage
	exit
	cable
	N length
	C length
	assembly
	materials

	code
	code
	
	code
	code
	code
	code
	
	code
	
	code
	code
	code

	P30
	03
	05
	= 0.5 kW
	1=110VM
	J = small side
	F
	0 = 1m
	0
	= 1m
	A
	1

	P40
	04
	10
	= 01 kW
	2= 230V M
	K = large side
	G
	1 = 1,5m
	1
	= 1,5m
	
	2

	
	
	
	
	
	
	
	
	
	
	
	

	P90
	...
	15 = 1.5 kW
	3= 460V M
	
	P
	2 = 2 m
	2
	= 2 m
	
	3

	
	
	20
	= 02 kW
	4=230VT
	
	D
	3 = 2,5m
	3
	= 2,5m
	
	4

	
	
	30
	= 03 kW
	5= 400V T
	
	
	4
	= 3m
	4
	= 3m
	
	5

	
	
	40
	= 04 kW
	6= 460V T
	
	
	5
	= 3,5m
	5
	= 3,5m
	
	6

	
	
	45
	= 4.5 kW
	
	
	
	6
	= 4m
	6
	= 4m
	
	7

	
	
	60
	= 06 kW
	
	
	
	7
	= 4,5m
	7
	= 4,5m
	
	8

	
	
	90
	= 09 kW
	
	
	
	8
	= 5m
	8
	= 5m
	
	

	
	
	12
	= 12 kW
	
	
	
	9
	= sup.5m
	9
	= sup.5m
	
	

	
	
	13
	= 15 kW
	
	
	
	
	
	
	
	
	


[image: image20.png]—





Cable code details

F = FEP single layer 1 W/cm2

G = FEP double layer 1 W/cm2

P = PFA single layer 1 W/cm2

D = PFA double layer 1 W/cm2

[image: image21.png]



Assembly code details

A = coated frame

Support materials code

	code
	frame
	strips
	other

	
	
	
	
	pieces

	1
	=
	PVDF
	PVDF
	PVDF

	2
	=
	PP
	PP
	PP

	3
	=
	FEP
	FEP
	-

	4
	=
	FEP
	FEP
	PVDF

	5
	=
	FEP
	FEP
	PP

	6
	=
	PVDF
	FEP
	PVDF

	7
	=
	PP
	FEP
	PP

	8* =
	stainless
	FEP
	PP

	
	
	steel
	
	


* Please contact us

GALVATEK S.A.S - 9, rue de la Tour du Mesnil-Renard - 78270 Bonnières, France www.galvatek.com - Tél. 01 30 93 07 57 - info@galvatek.fr

[image: image22.jpg]






	update 01/03/2019


